## Slide 1: İŞLEMSEL KUVVETLENDİRİCİLER (OP-AMPS) VE İŞARET İŞLEME UYGULAMALARI
Temel ilkeler, Süzgeçler, Entegratörler, Türev alıcılar ve Enstrümentasyon (Cihaz) Kuvvetlendiricileri

## Slide 2: Genel Ölçme ve Tanımlama Sistemi

## Slide 3: Algılayıcılar (Sensors ): tanım ve ilkeleri

## Slide 4: İşaret İşleyici Örnekleri
Temel kuvvetlediriciler
Enstrümentasyon kuvvetlendiricileri – geliştirilmiş bir farksal kuvvetlendirici
Aktif süzgeçler
Entegratör (toplama) ve türev alma
Önemli ekler:
  Hassas doğrultucular
  Logaritmik kuvvetlendiriciler
  Negatif kapasitans kuvvetlendiricileri

## Slide 5: İşaret Koşullandırma
Ideal işlemsel kuvetlendirici (operational amplifier – op-amp)
Eviren, evirmeyen ve enstrümentasyon (cihaz) kuvvetlendiricisi
Entegratör (toplama), türev (differensiyel)
Süzgeçler (Filters)
İşaret koşullandırma modül örneklari
Notes: This slide shows the topics of signal conditioning.

## Slide 6: Kuvvetlendirici (Yükselteç – Amplifikatör)
Kazanç K veya G (Gain) = Çıkış Değeri / Giriş Değeri

## Slide 7: Kuvvetlendirici Tipleri
Gerilim kontrollü gerilim kuvvetlendiricisi (basit op-amp)
Gerilim kontrollü akım kuvvetlendiricisi (operational transconductance amplifier – OTA
Akım kontrollü gerilim kuvvetlendiricisi (transimpedance)
Akım kontrollü akım kuvvetlendiricisi

## Slide 8: İdeal Bir İşlemsel Kuvvetlendirici
Notes: Operational (OP) amplifier is a high-gain dc differential amplifier. It is normally used in circuits that have characteristics determined by external negative feedback networks. Ideal OP amplifier is the best model for the design and analysis of amplifier circuits. It has two inputs, negative terminal v1 and positive terminal v2 and one output v0. The effective input to the amplifier is the voltage difference of the two inputs v1-v2. This is why the amplifier is called differential amplifier.

## Slide 9: İdeal op-amp İçin Temel Kurallar
Özellikleri
  Sonsuz kazanç (A=∞)
  v1 = v2 ise V0 = 0
  Giriş empedansı sonsuz
  Çıkış empedansı sıfır
  Bant genişliği sonsuz ve faz kayması yok.
Temel Kurallar
  Op-amp’in çıkışı lineer bölgede ise, her iki girişteki gerilim aynıdır (birbirine eşittir)
  Op-amp’in girişinden hiç akım akmaz.
Notes: Ideal OP amplifier has many properties. The gain is assumed to be infinite. Real OP amplifiers has the gain greater than 105 or 100dB. This gain can be considered as infinite. When the potential of both input terminals are equal, there is no voltage output (0 V). The input impedance is infinity, which means the amplifier use the little energy from the source. It is important because most sensors, the source for the amplifier input, has very limited energy output capacity. The real OP amplifier has the input impedance that can easily exceed 1GΩ. The zero output impedance means that the amplifier can maximize its output power. There is also no distortion to the signal because the bandwidth id infinitely wide and has no phase shift.
The two rules are important for the analysis of circuits made of OP amplifiers. It implies that the voltage of one terminal must follow the voltage of the other. Otherwise the output voltage would be infinity or out of the linear range because of the infinite gain of the amplifier. Since the input impedance is infinite, the current flowing through the input terminal will be zero. In real amplifier, the current is less than 1µA.

## Slide 10: Devre Elemanı Olarak Op-amp

## Slide 11: Eviren Kuvvetlendirici
V0
Vi
A
+
-
R1
Rf
I
Sanal (Virtual)
toprak
Gerçek
toprak
I = Vi / R1
V0 = - ( Rf / R1 ) * Vi

## Slide 12: Devre Bağlantısı

## Slide 13: Giriş-Çıkış Özellikleri

## Slide 14: Toplama Kuvvetlendiricisi
V0 = - ( Rf / R1 ) * V1 - ( Rf / R2 ) * V2
I2 = V2 / R2
I1 = V1 / R1

## Slide 15: Toplayıcı
i
v
b
i
o
o
-
+
+15V
+10
0
Time
i + b /2
-10
(a)
(b)
5 kW
-15 V
Rb
20 kW
Ri
10 kW
Rf
100 kW
Voltage, V
(a) This circuit sums the input voltage i plus one-half of the balancing voltage b . Thus the output voltage o can be set to zero even when i has a nonzero dc component. (b) The three waveforms show i , the input voltage; (i + b /2), the balanced-out voltage; and o , the amplified output voltage. If i were directly amplified, the op amp would saturate.

## Slide 16: Toplayıcı Kuvvetlendirici Uygulaması

## Slide 17: Toplayıcı Kuvvetlendirici Örneği

## Slide 18: Gerilim İzleyici - Tampon
Ri 

## Slide 19: Evirmeyen Kuvvetlendirici
V0 = (1+ Rf / R1 ) * Vi
If = Vi / R1
Ri 

## Slide 20: Giriş-Çıkış Özellikleri

## Slide 21: Evirmeyen Kuvvetlendirici (temel)

## Slide 22: Evirmeyen Kuvvetlendirici Örneği

## Slide 23: Gerilim Bölücülü Evirmeyen Kuvvetlendirici
V2 = V1 * R4 / (R3+R4 )
V0 = (1+ R2 / R1 ) * V2
V0 = (R4/(R3+R4))* (1+ R2 / R1 ) * V1
Ri = V1 / Ii = R3+R4

## Slide 24: Gerilim Bölücüye Örnek-1
Vo/Vi =

## Slide 25: Örnek-2
Vo/Vi =

## Slide 26: Biyopotensiyel İşaret Kaynağı

## Slide 27: Gürültü Kaynakları

## Slide 28: Şebeke Hattından Olan Kapasitif Kuplajların Etkileri

## Slide 29: Temel Fark Kuvvetlendiricisi
V5 = V4 * R4 / (R3+R4 )
If = (V5 - V3) / R3 = (V0 – V5)/ R4
V0 = (V4 - V3)*R4 / R3 + GC* (V4 + V3)/2
CMRR = Gd/GC
GC =2*V0/(V4 + V3)
Gd =V0/(V4 - V3) = R4 / R3

## Slide 30: Giriş-Çıkış Özellikleri
Ri3 =V3/I3 = R3
Ri4 =V4/I4 = R3 + R4
Gd =V0/Vd = R4 / R3
GC =V0/VCM =
Deneysel olarak bulunur
CMRR = Gd/GC

## Slide 31: Kuvvetlendiricinin Giriş Dirençlerindeki Dengesizliğin Etkisi

## Slide 32: Girişi Koşullandırma: Fark İşaret
iR1 = iR2a = iR2b olduğundan farksal (diferensiyel) çıkış gerilimi:
Farksal giriş gerilimi ise:
Böylece farksal kazanç:
R2
va
R2
R1
vb
VS+
VS+
va'
vb'
iR1
iR2a
iR2b
VS–
VS–

## Slide 33: Girişi Koşullandırma: Ortak İşaret
Giriş koşullandırma ortak işareti kuvvetlendirmez!
Bunun da nedeni şöyledir:
  vb – va = iR1R1 olduğundan
  Böylece çıkış gerilimi de:
R2
va
R2
R1
vb
VS+
VS+
va'
vb'
iR1
iR2a
iR2b
VS–
VS–

## Slide 34: Enstrümentasyon Kuvvetlendiricisi
Toplam kazanç:
R4
R3
vo
R3
R4
R2
va
R2
R1
vb
VS+
VS+
VS+
Difference
Amplifier
Input
Conditioner
VS–
VS–
VS–

## Slide 35: Yüksek Ortak Mod Tepkil Oranlı Enstrümentasyon Kuvvetlendirici
Devrenin kazancı
K = K1*K2

## Slide 36: Fark İşaretleri ve Enstrümentasyon Kuvvetlendirici Uygulaması

## Slide 37: Karşılaştırıcılar: Temel Kurallar
V0=A(V2-V1)
V0 = 0 şayet V1 = V2
V0 = +VSAT şayet V1 < V2
V0 = -VSAT şayet V1 > V2
Op-amp’in girişlerinden akım akmaz.

## Slide 38: Basit Karşılaştırıcı (eviren)
Şayet V-<0 ise çıkış +VSAT kalır
V- = (Vi*R2+Vref*R1)/(R1+R2)
Şayet V->0 olursa çıkış –VSAT a gider
-VSAT
VSAT

## Slide 39: Histerizli Karşılaştırıcı
V- = (Vi*R2+Vref*R1)/(R1+R2)
V+ = V0*R3 /(R3+R4)
V-<V+ çıkış +VSAT da kalır
Şayet V->V+ olursa çıkış –VSAT a gider

## Slide 40: Özellikler
VH = -Vref*R1/R2 – VSAT*R3/(R3+R4)
VL = -Vref*R1/R2 + VSAT*R3/(R3+R4)

## Slide 41: Hassas Doğrultucular
Hassas Yarım Dalga Doğrultucu Devresi
Hassas Yarım Dalga Doğrultucu Devresi
Hassas Tam Dalga Doğrultucu Devresi
Notes: HASSAS DOĞRULTUCULAR Yukarıda anlatılan yarım ve tam dalga doğrultucularda diyot kullanılmaktadır. Klasik diyotların doğrultmaç devrelerinde oluşturduğu bazı dezavantajlı durumlar vardır.doğrultucu devrelerin yarattığı sakıncaları önlemek ve daha hassas ölçüm yapmak için biyomedikal sistemlerde OPAMP'lı hassas doğrultucular kullanılır. Opampın giriş empedansı teorikte sonsuz olduğu İçin kaynak devreden fazla akım çekmez. Böylece giriş sinyalinin bozulmasını engeller.

## Slide 42: Hassas Doğrultucular
10 V
(b)
-10 V
o
i
-10 V
10 V
-
+
(a)
D3
R
R
o=
i
-
+
D2
D1
D4
xR
(1-x)R
i
x
(c)
D
v
o
i
-
+
Ri = 2 kW
Rf = 1 kW
RL = 3 kW
(a) Full-wave precision rectifier. For i > 0, the noninverting amplifier at the top is active, making o > 0. For i < 0, the inverting amplifier at the bottom is active, making o > 0. Circuit gain may be adjusted with a single pot. (b) Input-output characteristics show saturation when o > +13 V. (c) One-op-amp full-wave rectifier. For i < 0, the circuit behaves like the inverting amplifier rectifier with a gain of +0.5. For i > 0, the op amp disconnects and the passive resistor chain yields a gain of +0.5.

## Slide 43: Logaritmik Kuvvetlendiriciler
(a)
(b)
Rf
Ic
Rf /9
o
Ri
i
-
+
10 V
-10 V
v
o
i
-10 V
1
10
10 V
Figure 3.8 (a) A logarithmic amplifier makes use of the fact that a transistor's VBE is related to the logarithm of its collector current. With the switch thrown in the alternate position, the circuit gain is increased by 10. (b) Input-output characteristics show that the logarithmic relation is obtained for only one polarity; 1 and 10 gains are indicated.

## Slide 44: Frekans Tepkisi
Frekans tepkisi.pptx

## Slide 45: Active Filters
Low-pass
High-pass
Band-pass
Band-stop (notch)
All-pass (phase-shift)

## Slide 46
100
10
1
0.1
HP
BP
LP
3
2
1
1 k
100
Frequency, Hz
10
fc
1
D
I
fc
Figure 3.10 Bode plot (gain versus frequency) for various filters. Integrator (I); differentiator (D); low pass (LP), 1, 2, 3 section (pole); high pass (HP);bandpass (BP). Corner frequencies fc for high-pass, low-pass, and bandpass filters.

## Slide 47: Entegratör – ideal: devre
Sanal
Toprak
i
i
V0 nun Vi ye ilişkisini yaz
Kazanç G nin ifadesini yaz
Where  = RiCf

## Slide 48: Entegratör – ideal: özellikleri
G/GL
f/fc
0.1
1
10
100
0.1
0.01
0
10
100
Slope = -1
1
-3/2
Faz
f/fc
-5/4
-
G/GL nin f/fc ye göre değişimini çiz
Faz değişimini f/fc göre çiz

## Slide 49: Entegratöre Besleme Akımlarının Etkisi
Besleme akımı hangi eleman üzerinden akar?

## Slide 50: Alçak Geçiren Süzgeç: Devre
GL = Rf/Ri ; f = RfCf ; fc = 1/2f
Kazanç G’nin denklemini çıkarınız
Önemli parametreler nelerdir?

## Slide 51: Alçak Geçiren Süzgeç: Özellikleri
Gain/GL
f/fc
0.1
1
10
100
0.1
0.01
Slope = -1
1
-3/2
Phase
f/fc
-5/4
-
GL = Rf/Ri ; f = RfCf ; fc = 1/2f

## Slide 52: Entegratör - pratikte
Gain/GL
f/fc
0.1
1
10
100
0.1
0.01
eyim= -1
Rf olmadan
Rf ile
Rf DC besleme akımlarının akım yoludur
1
Phase
f/fc
-3/2
-5/4
-
Rf olmadan
Alçak geç süzgeç
Enteg.

## Slide 53: Yük Kuvvetlendiricisi
vo
Electrode
The piezoelectric sensor generates charge, which is transferred to the capacitor, C, by the charge amplifier. Feedback resistor R causes the capacitor voltage to decay to zero

## Slide 54: Yük Kuvvetlendiricisi: Devre
Sanal
Toprak
IsC = IsR = 0

## Slide 55: Yük Kuvvet. Basamak Cevabı
xi
Deflection
vo
vo max
vo max /e
Time
Time
The charge amplifier responds to a step input with an output that decays to zero with a time constant  = RfCf

## Slide 56: Yüksek Geçiren Süzgeç: Devre
GH = -Rf/Ri ; i = RiCi ; fc = 1/2i
Kazanç G nin denklemini çıkar
Önemli parametreler nelerdir?

## Slide 57: Yüksek Geçiren Süzgeç: Özellikleri
Gain/GH
f/fc
0.1
1
10
100
0.1
0.01
Eyim = +1
1
-
Phase
f/fc
-3/4
-/2
G/GH yi f/fc ye göre çiz
Fazı f/fc ye göre çiz

## Slide 58: Türev Alıcı - ideal
Eyim = +1
fc = 1/2
Faz kayması = - 90o
Gain
f/fc
0.1
1
10
100
0.1
0.01
1
10
100
V0 yu Vi cinsinden ifade et
Kazanç G nin ifadesini yaz

## Slide 59: Türev Alıcı - Pratikte
In an ideal differentiator, the high
frequency response is limited by the
open-loop gain of the op-amp yielding
a very noisy output voltage.
f = RfCf ; fc = 1/2f
Cf is used to limit the hf gain, hence the hf noise.
The gain at hf: GH = - Ci/Cf

## Slide 60: Türev Alıcının Özellikleri
Slope = +1
1
-
Phase
f/fc
-3/4
-/2
Gain/GH
f/fc
0.1
1
10
100
0.1
0.01
10
Without Cf
With Cf
With Cf
Differentiator
High-pass filter

## Slide 61: Band-pass filter: circuit
Mid-band gain =GMB = - Rf/Ri
Time-constants: I= RiCi ; f = RfCf
Critical frequencies: fL = 1/2I ; fH = 1/2f

## Slide 62: Band-pass filter: characteristics
Gain/GH
f/fc
0.1
1
10
100
0.1
0.01
Slope = -1
Slope = +1

## Slide 63
+
-
ui
uo
Ci
+
-
Ri
ui
uo
+
-
Ri
Rf
(a)
(b)
(c)
Cf
ui
uo
JH
Rf
Cf
Rf
Ci
Ri
Active filters
A low-pass filter attenuates high frequencies
A high-pass filter attenuates low frequencies and blocks dc.
A band-pass filter attenuates both low and high frequencies.

## Slide 64: Band-pass filter (non-inverting)

## Slide 65: Frequency response of bpf

## Slide 66: BPF with bias compensation

## Slide 67: Op-Amps in Reality
Fabricated using integrated-
circuit technologies
  Inside an op-amp:
    Transistors
    Parasitic capacitors
    Internal resistors
Op-amp chip configuration that we will use: Quad-channel (i.e. 4-in-1)
  14 pins in the op-amp chip

## Slide 68: İşlemsel Kuvvetlendiricinin İç Yapısı

## Slide 69: Internal diagram of an op-amp
Level shifter
Differential input preamplifier
Inputs
Output
Output buffer
Input
Input
Output
Q5
100
3 k
V+
V-
-Vs
+Vs
Q1
Q2
Q3
10 k
10 k
3 k
1 k
R2
Io
Q4
200
Null
10 k
R4

## Slide 70: Frequency response: open-loop, uncompensated
Gain
[Gain-dB]
100K
1000
10
0.1
10K
100
1
[100]
[80]
[60]
[40]
[40]
[20]
[0]
[-20]
Frequency (Hz)
10
100
10K
1M
100M
Slopes
0
-1
-2
-3

## Slide 71: Phase response
Phase
0
-/2
-
-3/2
Frequency (Hz)
10
100
10K
1M
100M

## Slide 72: Bode plot
Gain
100K
1000
10
0.1
10
100
10K
1M
100M
Phase
0
-/2
-
-3/2
Frequency (Hz)
Gain
margin

## Slide 73: Compensated and uncomp. op-amp
Gain
100K
1000
10
0.1
10K
100
1
Frequency (Hz)
10
100
10K
1M
100M
Uncompensated
Compensated
Open-loop gain
Slopes
-1
-1
-2
-3
-2

## Slide 74: Internally compensated op-amp
Gain
100K
1000
10
0.1
10K
100
1
Frequency (Hz)
10
100
10K
1M
Unity gain BW
Slope
= -1
Slope
= -2

## Slide 75: Frequency response: closed-loop
Gain
Frequency
1
1
10
10
100
100
1K
1K
10K
100K
100K
10K
1M
Open-loop gain
Uncompensated
Compensated
Unity gain BW
Amplifier BW
Amplifier circuit gain
Loop gain

## Slide 76: Op-amp Frekans Cevabı
Figure 3.13 Op-amp frequency characteristics early op amps (such as the 709) were uncompensated, had a gain greater than 1 when the phase shift was equal to –180º, and therefore oscillated unless compensation was added externally.
A popular op amp, the 411, is compensated internally, so for a gain greater than 1, the phase shift is limited to –90º. When feedback resistors are added to build an amplifier circuit, the loop gain on this log-log plot is the difference between the op-amp gain and the amplifier-circuit gain.

## Slide 77: Slew rate = maximum output slope
Interim amplifier stage
Imax/C = dV0/dt = Slew rate (Sr) (V/s)
For sinusoidal signals with V0 = Vor*sin(pt) where Vor is the maximum rated output voltage and p =2fp is the maximum frequency of the signal; then the slew rate is Sr = 2fpVor yielding
fp =Sr /(2Vor) = full-power response
Compensation capacitor

## Slide 78: Slew rate limitations
Vi
V0
A
Vi
Time
V0
Time
Vor
-Vor
T1
Slope = Sr = 2Vor/T1
V0=Vorsin2ft
Maximum slope
Limited by
Slew rate = Sr
(dV0/dt)max
= 2f*Sr
Time
Vor
-Vor
T

## Slide 79: Output saturation current and feeding capacitive loads
V0
A
(V
2
–
V
1
)
+
V
1
V
2
Rd
R0
Rf
RL
CL
I0
If
IL
Don’t let equivalent resistance seen from the output below a few k
Capacitive loads may impose slew-rate like limitations

## Slide 80: Input and output voltage ranges
VS
-VS
VCM
VCM = common mode input voltage
- VS – 0.7V < VCM < VS + 0.7V
VO
- VS + 1 V < VO < VS – 1 V
3 V < VS < 18 V
VS = supply voltage
V+
V-
Input
Input
Output
-Vs
+Vs
Q1
Q2
Q3
Q4
Q5
10 k
10 k
3 k
1 k
200
Null
100
3 k
10 k
R2
R4
Io

## Slide 81: Bias currents & voltages
V0
Ideal
Op-amp
-
+
-
+
Ib1
Ib2
Vb1
Vb2
V1
V2
R1eq
R2eq
Ib1 and Ib2 are input bias currents; input offset current Iio = Ib1- Ib2
Vb1 and Vb2 are input bias voltages; input offset voltage Vio = Vb1- Vb2

## Slide 82: Problems with bias currents & voltages
Offset voltage
  Problem in amplifying low-level signals
  Can be nulled using a potentiometer
  Drift in time and with temperature
  Noise
Bias current
  Flows through feedback R; use small R (around 10 K, if R is too small then load current + f.b. current may exceed o/p current limit)
  Differential bias current (offset current)
  Drift
  Noise

## Slide 83: Invert amp with bias compensation

## Slide 84: Giriş Empedansı
+
-
Rd
ii
Ro
RL
CL
io
Aud
ud
uo
ui
+
-
Figure 3.15 The amplifier input impedance is much higher than the op-amp input impedance Rd. The amplifier output impedance is much smaller than the op-amp output impedance Ro.

## Slide 85: Input and output impedances
Unity-gain follower
V0 = AVd = A(Vi – V0) = AVi/(A+1)
Ii = Vd/Rd = Vi/(A+1)Rd
Ri = Vi/Ii = (A+1)Rd  ARd
-Vd = V0 = AVd + I0R0
= -AV0 + I0R0
Yielding (A+1)V0 = I0R0
Hence, R0 = V0/I0 = R0/(A+1)  R0/A
I0 = CLdV0/dt

## Slide 86: Noise
Frequency (Hz)
Noise voltage (V.Hz-1/2) or
Noise current (A.Hz-1/2) in rms
1/f noise
White noise
1/f (flicker)noise
Colored noise
White noise
Popcorn noise
fL
fH
Bandwidth (BW)

## Slide 87: Noise sources in an op-amp
V0
-
+
In
In
V1
V2
R1
R2
+ -
Vn
Vd
+ -
AVd
Characteristic noise resistance Rn = vn/in